Address of Premises……………………………………………………………………….......

Owner or Agent…………………………………………………………………………..........

Date & Time of Testing: ……………….………………………………………………….......

**New System  Addition  Minor alteration/repair**

**Hydrostatic test carried out: YES  NO  by:**…………………………….………..........

Copy Attached YES  NO

**Type of Flow/Pressure Test Equipment used**……………………………………….......

……………………………………………………………………………………………...........

**Class of Building**: 2, 3, 4, 5, 6, 7a, 7b, 8, 9a, 9b, 9c or Open Yard

**Number of hydrant outlets required for this Class & Size of building is**: **1**.. **2** .. **3**..more

(**NOTE:** The number of hydrant/outlets required should be ascertained prior to testing)

**Feed Hydrant test results (at Booster Assembly)**

|  |  |  |
| --- | --- | --- |
| Static Pressure | Open Flow | Flow @ 200kPa |
| kPa | L/s | L/s |

**Test Results for Most Hydraullically Disadvantaged Hydrant/Outlet**

(Required number of hydrants are to be discharged simultaneously at not less than 700kPa when assisted)

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Outlet/Type | Location | Static Pressure | Open Flow | Flow @ 350kPa | Flow @ 700kPa |
| **No. 1**  Riser | …………………………………………………… | kPa | L/s | L/s | L/s |
| **No. 2**  Riser | …………………………………………………... | kPa | L/s | L/s | L/s |
| **No. 3**  Riser | …………………………………………………... | kPa | L/s | L/s | L/s |

Have the Flow & Pressure Test/s been undertaken in accordance with AS 2419.1?

**YES  NO** (if no, why)……………………………………………………………………........

Company and/or person conducting the Test: …………………………………………….......

…………………………………………………………………………………………………........

Signature: ……………………………TFS Permit Number (if applicable): …..…………........

Note: If data for all relevant sections is not entered the results will not be accepted.