|  |  |
| --- | --- |
| tfs logo_no text | **TASMANIA FIRE SERVICE – FORM 6.2****Alarm Signalling Equipment (ASE) Application** |

*This form must be submitted at least* ***14 days prior*** *to the expected connection date and must be accompanied with a Purchase Order. A standard kit will be provided unless otherwise advised.*

Name of client:

Name of premises:

Address of premises:

Installing company:

Deliver to (Name):

Deliver to (Address):

**Inputs 1 to 4 will be programmed as follows (Description – Type) and cannot be changed:**

1 = Fire Detection – Alarm (F1) 2 = Panel Fault – Fault (A2)

3 = Zone Isolated (Disabled) - Status (I4) 4 = Power Fault – FDCIE Power (A6)

From the **Description and Type** drop down boxes below, please identify the type of system relevant to each Input number.

|  |
| --- |
| Choose an item. |

|  |  |  |  |
| --- | --- | --- | --- |
| Input | Description | Type | TFS Use Only |
| **5** | Choose an item. | Choose an item. |  |
| **6** | Choose an item. | Choose an item. |  |
| **7** | Choose an item. | Choose an item. |  |
| **8** | Choose an item. | Choose an item. |  |

(Additional inputs or naming conventions are available and must be discussed with Technology & Innovation via ASE.support@dpfem.tas.gov.au)

**Fault = Advisory only. TFS will not respond a crew and will notify the premise if longer than ½ hour (e.g. Zone/system Isolate, system fault etc)**

**Anti-Tamper = Advisory only. TFS will not respond a crew and will notify the premise as soon as practicable.**

Installers signature: Date:Click here to enter a date.

**Once completed, email to** **tfs@fire.tas.gov.au**